# Fire door inspection checklist

A fire door register with the routine checks for each doorset: label, closing and latching, hardware, seals, clearances and hold-open devices.

## 1. Site details

| Building and address |  |
| --- | --- |
| Date of inspection |  |
| Inspector and company |  |
| Previous register / report reference |  |

## 2. Fire door register

| Door ID | Level / location | Type | Rating on tag | Result |
| --- | --- | --- | --- | --- |

## 3. Per-door checks

| Check | Yes | No | N/A | Notes / item IDs |
| --- | --- | --- | --- | --- |
| Compliance tag or label on door leaf and frame, legible | ☐ | ☐ | ☐ |  |
| Door closes fully and latches from the fully open position | ☐ | ☐ | ☐ |  |
| Self-closer operating, not disconnected or adjusted off | ☐ | ☐ | ☐ |  |
| Latch and lock hardware operating, no non-compliant additions | ☐ | ☐ | ☐ |  |
| Hinges secure, no missing screws | ☐ | ☐ | ☐ |  |
| Clearances around the leaf within the tested doorset’s limits | ☐ | ☐ | ☐ |  |
| Smoke seals present and undamaged (smoke doors) | ☐ | ☐ | ☐ |  |
| No unauthorised holes, vision panels or modifications | ☐ | ☐ | ☐ |  |
| Door not wedged or held open, except by an approved hold-open device | ☐ | ☐ | ☐ |  |
| Hold-open device releases on alarm | ☐ | ☐ | ☐ |  |
| Required signage present | ☐ | ☐ | ☐ |  |

## 4. Defects and actions

| Door ID | Defect | Severity | Recommended action | Photo ref |
| --- | --- | --- | --- | --- |

## 5. Summary and sign-off

| Doors inspected / passed / failed |  |
| --- | --- |
| Comments |  |
| Inspector name / accreditation / date |  |